
	
	SECTION 00 90 02
	

	
	BIDDING AND CONTRACT REQUIREMENTS ADDENDUM NUMBER 2
	

	Date:

To:
	September 30, 2026

Prospective Bidders
	Distributed via: BHFX Planroom

	From:
	Legat Architects, Inc.
2015 Spring Road, Suite 701 Oak Brook, IL 60523
(630) 990-3535
www.legat.com
	Architect’s Project Number: 226076.00

	Re:
	Addendum Number 2 to the bidding documents for:
	

	
	Harper College
Buildings A, S, U, X, Y, and Z Upgrades Bid Request Number Q01251
	



This addendum forms a part of the bidding and contract documents and modifies the original bidding documents dated September 15, 2026 and Addendum No. 1 dated September 23, 2026. Acknowledge receipt of this addendum in the space provided on Bid Form.
FAILURE TO DO SO MAY SUBJECT BIDDER TO DISQUALIFICATION.

I. PART 1 - ADDENDUM TO THE PROJECT MANUAL

A. Document 00 11 13 – ADVERTISEMENT FOR BIDS.
1. DELETE section in its entirety and REPLACE with attached revised section.
a. Article 1.01, Paragraph H: Contact emails for the Architect have been added.

B. Document 01 10 00 – SUMMARY
1. DELETE section in its entirety and REPLACE with attached revised section.
a. Article 1.06, Paragraph B: Add Sub-paragraphs 1, 2, 3, and 4.


END OF SECTION

This addendum consists of 1 page.

This addendum has 6 attached pages identified below:

· Specification Sections:
· 00 11 13 – ADVERTISEMENT FOR BIDS (2 PAGES)
· 01 01 00 – SUMMARY (4 PAGES)
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ADVERTISEMENT FOR BIDS
1.01 BID INFORMATION

SECTION 00 11 13 ADVERTISEMENT FOR BIDS

Harper College Bldgs A, S, U, X, Y, and Z
Upgrades
226076.00
Issue for Bids
Advertisement For Bids 00 11 13-1

A. ELECTRONIC BIDS WILL BE RECEIVED BY THE HARPER COLLEGE BOARD OF TRUSTEES THROUGH A DROBOX LINK ON TUESDAY, OCTOBER 20, 2026 AT 11:00 A.M. CENTRAL DAYLIGHT TIME FOR FURNISHING ALL THE NECESSARY LABOR, EQUIPMENT, AND MATERIAL FOR THE: BUILDINGS A, S, U, X, Y, and Z UPGRADES - BID
REQUEST NO. Q01251 AT Harper College, 1200 W Algonquin Road, Palatine, IL 60067.
B. DropBox link: https://www.dropbox.com/request/4rji7sbapicn7pgvgws6
C. Bids will be publicly opened on TUESDAY, OCTOBER 20, 2026 AT 11:00 A.M. central daylight time via WebEx Meeting.
D. WebEx link:
https://harpercollege.webex.com/harpercollege/j.php?MTID=mbe9d4065d9e6cebb1d7 b25747e98ee1f

E. Work includes toilet room renovations in multiple buildings and improvements to an existing fire barrier work.
F. Lump sum bid proposals will be received for this project at the scheduled time of receipt of bids and will be publicly opened and read aloud.
G. A non-mandatory Pre-Bid meeting has been scheduled for Tuesday, September 29, 2026, at 2:00 P.M. central daylight time in Building W, Room W218, at Harper College, 1200 W Algonquin Road, Palatine, IL 60067. All bidders are encouraged to attend and sign-in at the meeting which will also be attended by the Owner and Architect A pre-bid walk-through of the area of work will take place immediately following the pre-bid meeting.
H. All questions regarding the Bidding Documents shall be submitted via email to both the Purchasing Manager for Harper College, Mrs. Jewell Jackson (purchasing@harpercollege.edu) and the Architect, Scot Parker (sparker@legat.com), April Maifield (amaifield@legat.com), and Megan Ortinau (mortinau@legat.com). Replies will be issued to all bidders of record in the form of an Addendum. Questions received later than Thursday, October 1, 2026, 5:00 P.M. central daylight time may not be answered.
I. Bid security in the form of bid bond in an amount equal to 10 percent (10%) of the aggregate of the Base Bid amount and any and all Alternate Bid amounts shall be submitted with the bid.
J. Performance, Labor and Material Payment Bonds, and Certificate of Insurance will be required from the successful bidder.
K. All bids shall be submitted via "DropBox " electronically (NO HARD COPY BIDS TO BE PERMITTED).
L. No bid may be withdrawn for a period of ninety days after the submission without the consent of the Board of Trustees.
M. Any bid submitted unsealed, unsigned, fax transmission, e-mail, or received subsequent to the aforementioned date and time, may be disqualified and returned to the bidder.
N. Harper College reserves the right to reject any or all bids or parts thereof, to waive any irregularities or informalities in bidding procedures, and to award the contract in a manner best serving the interest of the College.
O. All bidders must comply with applicable Illinois Law requiring the payment of prevailing wages by all Contractors working on public works. Bidder must comply with the Illinois Statutory requirements regarding labor, including Equal Employment Opportunity Laws.

P. Contractors shall pay not less than the prevailing rates of wages to all laborers, workmen, and mechanics performing work under this contract, and shall comply with the requirements of the Illinois Wages of Employees on Public Works Act (820 ILCS 130/1-12).
Q. Bidders shall comply with the Business Enterprise Program: Participation and Utilization Plan developed by Harper College. There is an 18 percent requirement on the Contract.
R. Interested bidding contractors may obtain printed or PDF copies of the drawings and specifications directly from BHFX Digital Imaging, 80 West Seegers Road, Arlington Heights, IL 60005, phone (847) 593-3161 (Other northern Illinois locations of BHFX can be found at www.BHFX.net). Contractors shall be responsible for the download or purchase costs. Amounts paid for the documents are not refundable.
END OF SECTION



PART 1 GENERAL
1.01 PROJECT

SECTION 01 10 00 SUMMARY

Harper College Bldgs A, S, U, X, Y, and Z
Upgrades
226076.00
Issue for Bids
Summary 01 10 00-3

A. Project Name: BUILDINGS A, S, U ,X, Y, AND Z UPGRADES.
B. Owner's Name: BOARD OF TRUSTEES - HARPER COLLEGE.
C. Architect's Name: Legat Architects.
D. The Project consists of (but is not limited to) the following:
1. Alterations to 28 restroooms throughout the campus.
2. Modifications to an existing fire barrier partition.
E. The contractor shall procure materials in a timely manner for materials to be onsite to complete work prior to substantial completion date.
1.02 CONTRACT DESCRIPTION
A. Work covered by Contract Documents: All work identified in construction documents (project manual and drawings).
B. Definitions. The following terms are used throughout the Contract Documents. The work will be governed in accord with the definitions.
1. Fabricated: Fabricated pertains to items specifically assembled or made of selected materials or components to meet individual design requirements.
2. Manufactured: Manufactured means standard units, usually mass-produced by an established manufacturer of the respective item.
3. Provide: Provide means furnish and install.
4. Shop fabricated or shop made: Shop fabricated or shop made refers to items made by a Contractor or Subcontractor in their own Shop.
C. Insurance
1. Refer to Article 11 of the General Conditions.
D. Contracts
1. The Owner will award a single construction contract for all work specified herein.
1.03 DESCRIPTION OF ALTERATIONS WORK
A. Scope of demolition and removal work is indicated on drawings and specified in Section 02 41 00.
B. Scope of alterations work is indicated on drawings and in specification sections of the project manual.
1.04 WORK BY OWNER
A. The owner may award and complete other projects in the vicinity of the and adjacent to this work. Contractor shall cooperate with other Contractors and Owner's personnel. Contractor shall cooperate and schedule work with the college so as not to impact separate contracts. Refer to Article 1.08.
B. Owner to perform the following on the front end:
1. Furniture and equipment removal.
C. Owner to perform the following on the back end:
1. Re-installation of furniture and equipment removed.
1.05 DUTIES OF CONTRACTOR
A. Except as specifically noted, provide and pay for:
1. Labor, materials and equipment.

2. Tools, construction equipment and machinery.
3. Temporary water, fuel and other utilities required for construction.
4. Other facilities and services necessary for proper execution and completion of work.
B. Secure and pay for as necessary for proper execution and completion of work, and as applicable at time of receipt of bids:
1. Permits (village of Palatine permit not required)
2. Government Fees
3. Licenses
C. Give required notices.
D. Comply with codes, ordinances, rules, regulations, orders and other legal requirements of public authorities, which bear on performance of work.
E. Promptly submit written notice to Architect of known or observed variances of Contract Documents from legal requirements.
1. Appropriate modifications to Contract Documents will adjust necessary changes.
2. Assume responsibility for Work known to be contrary to such requirements.
F. Enforce strict discipline and good order among employees. Do not employ on Project:
1. Unfit persons.
2. Persons not skilled in assigned task.
G. This Project is exempt from all State and Local use taxes.
1. Obtain sales tax exemption certificate number from Owner.
2. Place exemption certificate number on invoices for materials incorporated in work.
3. UUpon Owner's request furnish copies of invoices to Owner.
4. pon completion of work, file with Owner, notarized statement that all purchases made under exemption certificate were entitled to be exempt.
5. Pay legally assessed penalties for improper use of exemption certificate number.
H. Proceeds for end-use or consumption items to construction contractors to perform real estate construction contracts for the State of Illinois and its political subdivisions are taxable.
I. Contractor shall provide barricades, professionally printed signage, maintain exits and protection at all areas of construction.
J. Contractors shall follow all Harper Public Safety rules and regulations.
K. Purchase and maintain insurance in accordance with the General Conditions.
L. Provide required bonds for all portions of the work in accordance with the General Conditions.
1.06 OWNER OCCUPANCY / CONSTRUCTION SCHEDULE
A. The Date of Substantial Completion for all work shall be no later than 11:59 PM Wednesday, August 11, 2027. The expected award date/letter of intent is anticipated to be issued no later than Wednesday, January 30, 2027.
B. Work may begin on campus immediately following issuance of a letter of intent if performance bond, insurance, schedule and safety letter have been accepted by Architect/Owner.
1. Phase 1 Completion (6 weeks) Wednesday, April 7, 2027
2. Phase 2 Completion (6 weeks) Wednesday, May 19, 2027
3. Phase 3 Completion (6 weeks) Wednesday, June 30, 2027
4. Phase 4 Completion (6 weeks) Wednesday, August 11, 2027
C. The date of Final Completion shall be no later than 30 working days after receipt of punchlist.
D. See Section 00 72 00: General Conditions of the Contract for Construction for the amount of Liquidated Damages after Substantial Completion.

1.07 JOB OPERATIONS
A. Project Security:
1. Provide necessary precautions such as barriers to protect Owner's personnel, the public, in the area of construction. Contractor shall coordinate schedule with maintaining exits. Provide professional printed signage to direct personnel to other stairs/exits while a specific stair/exit is closed. Maintain 2 minimum exits from every floor/space during work at stairs/exits.
2. Securely close-off all areas of construction after working hours to prevent entry by unauthorized persons. Coordinate with public safety.
3. Contractor shall not drive/park vehicles on sidewalks or grass/landscaping. Contractors shall obtain daily permits to park/work directly adjacent to buildings.
1.08 WORK LIMITATIONS
A. Work is scheduled to be completed while classes are in session.
1. The Fall Session ends on Friday, December 18, 2026.
2. Staff returns Monday, January 11, 2027.
3. Faculty return on Wednesday, January 13, 2027.
4. Spring classes begin Monday, January 19, 2027.
5. Spring session ends Friday, May 21, 2027
B. Project is phased to such that only one pair of washrooms within a building and floor level are closed at any one time.
C. Provide dust control materials and filters to minimize dust from construction operations. Provide dust proof enclosures around work areas to prevent air-borne dust from dispersing into the areas outside of the work zones and from getting into the building's ventilation systems.
D. Provide protective enclosures for wall or ceiling mounted devices to prevent the intrusion of construction generated dust into them or to accumulate on them.
E. Clean all areas regularly which receive dust. Do not allow smoke, fumes, or dust to enter the buildings HVAC system, interior spaces or public areas.
F. Give Owner minimum two and one half weeks notice before starting Construction Work in any area.
G. Work that is not conducive to maintaining a productive education environment, or business operations during the times listed above and in the areas near those portions of the building in which the building will be occupied as listed above shall be performed prior to 8:00 A.M. or at such time during the day where the work to take place is sufficiently far enough away from the occupied portion of the building or attenuated in such a way as to maintain the required educational, or business operations environment.
H. All extremely noisy work including, and of a decibel range similar to jack hammering may be required to be performed over third shift, on Fridays if spaces adjacent, above, below, or nearby are unoccupied, or other alternative time periods as allowed by the local jurisdiction and the college, if found to be disruptive to the required educational, or business operations environment.
1.09 CONTRACTOR USE OF SITE AND PREMISES
A. Confine operations at site to areas permitted by:
1. Law.
2. Permits.
3. Contract.
4. Owner's representative.
5. Required use of adjacent existing facilities.
B. Confer with Owner's representative and obtain full knowledge of all site rules and regulations affecting work.

C. Conform to site rules and regulations while engaged in project construction.
D. Site rules and regulations take precedence over others that may exist outside such jurisdiction.
E. Employees On Site: The Owner's representative may examine Contractor's list of employees, including those of his subcontractors and their agents for all employees working on site.
F. Vehicle use: Rigidly enforce the following:
1. Keep all vehicles, mechanized or motorized equipment locked and secured at all times when parked and unattended on Owner's premises.
2. Do not, under any circumstance, leave any vehicle unattended with motor or engine running, or with ignition key in place.
3. All traffic control subject to Owner's representative's approval.
G. Do not unreasonably encumber site with materials or equipment.
H. Assume full responsibility for protection safety and safekeeping of products stored on premises.
I. Move all stored products or equipment which interferes with operations of Owner or other Contractors or subcontractors.
J. Obtain and pay for use of additional storage or work area needed for operations.
K. Limit use of site for work and storage:
1. To areas approved in advance by Owner.
L. The Contractor acknowledges that the adjacent site will be used by Owner's personnel and appropriate safety requirements must be maintained by the Contractor.
M. State of Illinois Law prohibits the use of smoking materials on any school property or in new or existing school buildings.
N. Provide access to and from site as required by law and by Owner.
O. Existing parking lots near building spaces may be used for contractor storage only with written approval by Owner and public safety.
P. Coordinate work with other Contractor's performing work on Campus during the same period of time, particularly those performing work at the same building on campus.
Q. Provide Access to and from the site as required by law and by Owner:
1. Emergency Building Exits During Construction: Keep all exits required by code open during construction period; provide temporary exit signs if exit routes are temporarily altered.
2. Do not obstruct roadways, sidewalks, or other public ways without a permit.
PART 2 PRODUCTS - NOT USED PART 3 EXECUTION - NOT USED
END OF SECTION
