# ADDENDUM 1

Date: April 22, 2026

To:  Nuri Akdeniz Project Manager

William Rainey Harper College 1200 West Algonquin Road Palatine, Illinois 60067-7398

Re:  Harper College Building M

Pool Stainless Steel Gutter Repair

Contract Number

Q01243

This Addendum forms a part of the Bidding Documents and amends the original documents dated April 10th, 2026.

Acknowledge receipt of this addendum in the space provided on Bid Form. Failure to do so may subject bidder

to disqualification.

Addendum 1 with revised inserts can be found at www.BHFX.net.

PROJECT SCHEDULE

The project schedule has been revised as follows:

• Issue Addendum: 4/23/2026

PROJECT MANUAL AND SPECIFICATIONS

SECTION 02 INSTRUCTIONS TO BIDDERS (issued)

1. Revise bid preparation to indicate electronic submission.

SECTION 03 BID FORM (issued)

- Alternate 1 changed to replace 4” upper section of gutter system on pool deck side in lieu of replacing entire system. Markup provided in section 14 for reference of scope.

- Unit prices updated to 10’ lengths for demolition and installation of new gutter system

SECTION 06 SCOPE OF WORK (issued)

- Included IDPH Certification requirements for installer

- Included confirmation that replacement of gutter system will be in one contiguous area.

- Included clarification on fall protection and scaffolding requirements in areas greater than 6’ in depth.

Clarified majority of gutter repair will be between 4’0” – 5’6” in depth.

- Included clarification for duct sock cleaning requirements

SECTION 12 SCHEDULE (issued)

- Revised schedule to account for IDPH permit process, grout cure time, and start date of August 1,2027.

SECTION 14 CONTRACT DOCUMENTS (issued)

- Included finish drawings for Porcelain Tile Finishes.

- Updated scope of work to 80LF of gutter replacement.

- Included drawing to provide detail of grout demolition and Alternate 1.

END ADDENDUM