# CLASSROOM SECURITY UPGRADES / CAMPUS CLOCK & MESSAGING UPGRADES PROJECTS

RFB & Contract Number Q01244

# SECTION 00 90 01

BIDDING AND CONTRACT REQUIREMENTS ADDENDUM NUMBER (1)

Demonica Kemper Architects 125 N. Halsted Street, Suite 301

Chicago, IL 60661

312.496.0000

To:	Prospective Bidders

Issued:	May 5, 2026

Re:	ADDENDUM NUMBER (1) TO THE BIDDING DOCUMENTS FOR

Harper College

Classroom Security Upgrades / Campus Clocks & Messaging Upgrades

Architect’s Project Number: 25-035

This addendum forms a part of the bidding and contract documents and modifies the original bidding documents dated April 15, 2026. Acknowledge receipt of this addendum in the space provided on Bid Form. FAILURE TO DO SO MAY SUBJECT BIDDER TO DISQUALIFICATION.

# CONTRACTOR QUESTIONS RECEIVED

- Q.	Please confirm the means of bid delivery, Specs call for 3 copies to be turned into the College, while the College’s website requires 1 copy to be electronically submitted via a Dropbox Link.

  - The means of bid delivery shall be electronic in accordance with the information published on the College’s website. The first three items below within the section titled Addendum to the Project Manual modify the project manual to align with the bid submission procedures on the College’s website.

- Q.	Please confirm that the owner is applying and paying for the building permit.

  - The work required will not necessitate a building permit from either the Village of Palatine Building Department, or from the City of Prospect Heights Building Department as Harper College is an entity regulated and governed by the State of Illinois through the Illinois Community College Board.

- Q.	Please confirm what we can do work during the normal working hours of 6am –3pm.

  - Work may begin at 6 am. The College is typically open for business and classes from 7:00 AM through 10:00 PM Monday through Friday with exception of holidays. Work may take place on campus anytime during the hours and days identified above. Opportunities to perform work on weekends may also be accommodated with prior notice and scheduling. Work that is particularly noisy or disruptive may be requested to take place during alternate time periods when areas adjacent or nearby the work area are unoccupied.

- Q.	Please confirm if there are any other preferred vendors for the project beside Sound Inc.

  - There are no other preferred vendors other than Sound Incorporated.

- Q.	Please confirm if there are activities / classroom session going on in the summer while we are doing construction that needs to be accounted for.

  - Harper College does run daytime summer school programs for elementary and middle school students ages 6-14 that take place throughout the campus, as well as daytime and evening classes are offered for college-age students during the summer. Harper College requests the Contractor to forecast and schedule work throughout the progress of the project at least 2 weeks in advance with the project manager for Harper College through the Architect on a regular basis so that it may accurately advise building users of pending work that may potentially impact their ongoing business or educational operations. The project manager for Harper College can provide to the Contractor occupancy schedules for all rooms in which work may take place along with those nearby or directly adjacent to where work will take place in order to efficiently schedule the work and minimize disruption.

- Q.	Please provide DFH schedule and spec’s for the hardware.

  - A door hardware specification shall be provided which will include a door hardware schedule correlated to the Access Control Key Notes A01 through A25. No new doors or new frames are intended to be provided.

- Q.	Please confirm if the existing above ceilings are plenum. If plenum, could we install plenum rated low voltage cabling ILO conduit.

  - The Harper College standard specification for network cabling is for all cabling to be plenumn rated type suspended by bridle rings or J-hooks above ceiling systems.

# ADDENDA TO THE PROJECT MANUAL

- Section 00 11 13 – Advertisement for Bids

  - ADD to the end of paragraph C. with the following: “via WebEx Link:

https://harpercollege.webex.com/harpercollege/j.php?MTID=md9a62e08879ec68a38f2d8e19 6122a33.”

- Section 00 11 13 – Advertisement for Bids

  - REPLACE paragraph H. as follows:

“Submission of bids shall be done electronically via the following Dropbox link: https://www.dropbox.com/request/phojnr41ko4sjxp98ime. Submit one electronic copy of all required bid formwork.”

- Section 00 21 13 – Instructions to Bidders

  - REPLACE article 1.02, paragraph A., subparagraph 2 (inclusive of all sub-sub paragraphs) in its entirety with the following: “Submit one electronic copy of bid electronically via the following Dropbox link: https://www.dropbox.com/request/phojnr41ko4sjxp98ime.”

- Section 087100 Door Hardware

  - ADD the attached 26 page specification section in its entirety to the project manual.

# ADDENDA TO THE DRAWINGS

## Architectural Drawings

  - Sheet A123-Z2/3 – Building Z Level 2 and 3 Floor Plans

    - Level 2 Floor Plan – room 225A (between rooms 225 and 227) ADD the following drawing note to the north wall of the room:

‘Temporarily remove movable furnishings, equipment, and storage systems adjacent to wall. Remove a select portion of existing wall assembly (assumed to be 2 hour fire rated shaft wall construction) as required to facilitate installation of new electrical work within shaft (refer to electrical drawings and specifications). Upon completion of

new electrical work, patch and repair wall using same materials and construction as existing construction remaining to maintain continuity of wall assembly fire rating.

Paint entirety of wall surface. Relocate displaced movable equipment and storage systems back to their original positions.’

    - Level 3 Floor Plan – room 308 (between rooms 306 and 310) ADD the following drawing note to the north wall of the room:

‘Temporarily remove movable furnishings, equipment, and storage systems adjacent to wall. Remove a select portion of existing wall assembly (assumed to be 2 hour fire rated shaft wall construction) as required to facilitate installation of new electrical work within shaft (refer to electrical drawings and specifications). Upon completion of new electrical work, patch and repair wall using same materials and construction as existing construction remaining to maintain continuity of wall assembly fire rating.

Paint entirety of wall surface. Relocate displaced movable equipment and storage systems back to their original positions.’

# CLARIFICATIONS

- As a trade contractor assigned to the GC by the bidding documents, the value of the work to be performed by Sound Inc shall be carried by each bidder in their bid to Harper College. The contact information for the senior account executive for Sound Inc., most knowledgeable of this project, is provided below:

Michael Banish

Senior Account Executive Sound Incorporated

1550 Shore Rd.

Naperville, IL 60563

P: 630.369.2900

E: mbanish@soundinc.com

## This addendum consists of (3) pages, excluding attachments. END 009001.

Attachments:

Section 08 70 00 Door Hardware, 26 pages

SECTION 087100 - DOOR HARDWARE

PART 1 - GENERAL

  - SUMMARY

    - Section includes:

      - Mechanical and electrified door hardware

      - Electronic access control system components

    - Related Sections:

      - Division 01 "General Requirements" sections for, Alternates, and Project Management and Coordination.

      - Division 06 Section ''Rough Carpentry''

      - Division 06 Section ''Finish Carpentry''

      - Division 26 ''Electrical'' sections for connections to electrical power system and for low-voltage wiring.

      - Division 28 ''Electronic Safety and Security'' sections for coordination with other components of electronic access control system and fire alarm system.

  - REFERENCES

    - UL LLC

      - UL 10B - Fire Test of Door Assemblies

      - UL 10C - Positive Pressure Test of Fire Door Assemblies

      - UL 1784 - Air Leakage Tests of Door Assemblies

      - UL 305 - Panic Hardware

    - DHI - Door and Hardware Institute

      - Sequence and Format for the Hardware Schedule

      - Recommended Locations for Builders Hardware

      - Keying Systems and Nomenclature

      - Installation Guide for Doors and Hardware

    - NFPA – National Fire Protection Association

      - NFPA 70 – National Electric Code

      - NFPA 80 – 2016 Edition – Standard for Fire Doors and Other Opening Protectives

      - NFPA 101 – Life Safety Code

      - NFPA 105 – Smoke and Draft Control Door Assemblies

      - NFPA 252 – Fire Tests of Door Assemblies

    - ANSI - American National Standards Institute

      - ANSI A117.1 – 2017 Edition – Accessible and Usable Buildings and Facilities

      - ANSI/BHMA A156.1 - A156.29, and ANSI/BHMA A156.31 - Standards for Hardware and Specialties

      - ANSI/BHMA A156.28 - Recommended Practices for Keying Systems

      - ANSI/WDMA I.S. 1A - Interior Architectural Wood Flush Doors

      - ANSI/SDI A250.8 - Standard Steel Doors and Frames

  - SUBMITTALS

    - General:

      - Submit in accordance with Conditions of Contract and Division 01 Submittal Procedures.

      - Prior to forwarding submittal:

        - Review drawings and Sections from related trades to verify compatibility with specified hardware.

        - Highlight, encircle, or otherwise specifically identify on submittals: deviations from Contract Documents, issues of incompatibility or other issues which may detrimentally affect the Work.

    - Action Submittals:

      - Product Data: Submit technical product data for each item of door hardware, installation instructions, maintenance of operating parts and finish, and other information necessary to show compliance with requirements.

      - Riser and Wiring Diagrams: After final approval of hardware schedule, submit details of electrified door hardware, indicating:

        - Wiring Diagrams: For power, signal, and control wiring and including:

          - Details of interface of electrified door hardware and building safety and security systems.

          - Schematic diagram of systems that interface with electrified door hardware.

          - Point-to-point wiring.

          - Risers.

      - Samples for Verification: If requested by Architect, submit production sample of requested door hardware unit in finish indicated and tagged with full description for coordination with schedule.

        - Samples will be returned to supplier. Units that are acceptable to Architect may, after final check of operations, be incorporated into Work, within limitations of key coordination requirements.

      - Door Hardware Schedule:

        - Submit concurrent with submissions of Product Data, Samples, and Shop Drawings. Coordinate submission of door hardware schedule with scheduling requirements of other work to facilitate fabrication of other work critical in Project construction schedule.

        - Submit under direct supervision of a Door Hardware Institute (DHI) certified Architectural Hardware Consultant (AHC) or Door Hardware Consultant (DHC) with hardware sets in vertical format as illustrated by Sequence of Format for the Hardware Schedule published by DHI.

        - Indicate complete designations of each item required for each opening, include:

          - Door Index: door number, heading number, and Architect's hardware set number.

          - Quantity, type, style, function, size, and finish of each hardware item.

          - Name and manufacturer of each item.

          - Fastenings and other pertinent information.

          - Location of each hardware set cross-referenced to indications on Drawings.

          - Explanation of all abbreviations, symbols, and codes contained in schedule.

          - Mounting locations for hardware.

          - Door and frame sizes and materials.

          - Degree of door swing and handing.

          - Operational Description of openings with electrified hardware covering egress, ingress (access), and fire/smoke alarm connections.

      - Key Schedule:

        - After Keying Conference, provide keying schedule that includes levels of keying, explanations of key system's function, key symbols used, and door numbers controlled.

        - Use ANSI/BHMA A156.28 ''Recommended Practices for Keying Systems'' as guideline for nomenclature, definitions, and approach for selecting optimal keying system.

        - Provide 3 copies of keying schedule for review prepared and detailed in accordance with referenced DHI publication. Include schematic keying diagram and index each key to unique door designations.

        - Index keying schedule by door number, keyset, hardware heading number, cross keying instructions, and special key stamping instructions.

        - Provide one complete bitting list of key cuts and one key system schematic illustrating system usage and expansion. Forward bitting list, key cuts and key system schematic directly to Owner, by means as directed by Owner.

        - Prepare key schedule by or under supervision of supplier, detailing Owner's final keying instructions for locks.

    - Informational Submittals:

      - Provide Qualification Data for Supplier, Installer and Architectural Hardware Consultant.

      - Provide Product Data:

        - Certify that door hardware approved for use on types and sizes of labeled fire-rated doors complies with listed fire-rated door assemblies.

        - Include warranties for specified door hardware.

    - Closeout Submittals:

      - Operations and Maintenance Data: Provide in accordance with Division 01 and include:

        - Complete information on care, maintenance, and adjustment; data on repair and replacement parts, and information on preservation of finishes.

        - Catalog pages for each product.

        - Final approved hardware schedule edited to reflect conditions as installed.

        - Final keying schedule

        - Copy of warranties including appropriate reference numbers for manufacturers to identify project.

        - As-installed wiring diagrams for each opening connected to power, both low voltage and 110 volts.

    - Inspection and Testing:

      - Submit written reports to the Owner and Authority Having Jurisdiction (AHJ) of the results of functional testing and inspection for:

        - Fire door assemblies, in compliance with NFPA 80.

        - Required egress door assemblies, in compliance with NFPA 101.

  - QUALITY ASSURANCE

    - If discrepancy between drawings and scheduled material in this section, bid the more expensive of the two choices, note the discrepancy and request direction from Architect for resolution.

    - Qualifications and Responsibilities:

      - Supplier: Recognized architectural hardware supplier with a minimum of 5 years documented experience supplying both mechanical and electromechanical door hardware similar in quantity, type, and quality to that indicated for this Project. Supplier to be recognized as a factory direct distributor by the manufacturer of the primary materials with a warehousing facility in the Project’s vicinity. Supplier to have on staff, a certified Architectural Hardware Consultant (AHC) or Door Hardware Consultant (DHC) available to Owner, Architect, and Contractor, at reasonable times during the Work for consultation.

      - Installer: Qualified tradesperson skilled in the application of commercial grade hardware with experience installing door hardware similar in quantity, type, and quality as indicated for this Project.

      - Architectural Hardware Consultant: Person who is experienced in providing consulting services for door hardware installations that are comparable in material, design, and extent to that indicated for this Project and meets these requirements:

        - For door hardware: DHI certified AHC or DHC.

        - Can provide installation and technical data to Architect and other related subcontractors.

        - Can inspect and verify components are in working order upon completion of installation.

        - Capable of producing wiring diagram and coordinating installation of electrified hardware with Architect and electrical engineers.

      - Single Source Responsibility: Obtain each type of door hardware from single manufacturer.

    - Certifications:

      - Fire-Rated Door Openings:

        - Provide door hardware for fire-rated openings that complies with NFPA 80 and requirements of authorities having jurisdiction.

        - Provide only items of door hardware that are listed products tested by UL LLC, Intertek Testing Services, or other testing and inspecting organizations acceptable to authorities having jurisdiction for use on types and sizes of doors indicated, based on testing at positive pressure and according to NFPA 252 or UL 10C and in compliance with requirements of fire-rated door and door frame labels.

      - Smoke and Draft Control Door Assemblies:

        - Provide door hardware that meets requirements of assemblies tested according to UL 1784 and installed in compliance with NFPA 105

        - Comply with the maximum air leakage of 0.3 cfm/sq. ft. (3 cu. m per minute/sq. m) at tested pressure differential of 0.3-inch wg (75 Pa) of water.

      - Electrified Door Hardware

        - Listed and labeled as defined in NFPA 70, Article 100, by testing agency acceptable to authorities having jurisdiction.

      - Accessibility Requirements:

        - Comply with governing accessibility regulations cited in ''REFERENCES'' article 087100, 1.02.D.1 herein for door hardware on doors in an accessible route. This project must comply with all Federal Americans with Disability Act regulations and all State & Local Accessibility Regulations.

    - Pre-Installation Meetings

      - Keying Conference

        - Incorporate keying conference decisions into final keying schedule after reviewing door hardware keying system including:

          - Function of building, flow of traffic, purpose of each area, degree of security required, and plans for future expansion.

          - Preliminary key system schematic diagram.

          - Requirements for key control system.

          - Requirements for access control.

          - Address for delivery of keys.

      - Pre-installation Conference

        - Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

        - Inspect and discuss preparatory work performed by other trades.

        - Inspect and discuss electrical roughing-in for electrified door hardware.

        - Review sequence of operation for each type of electrified door hardware.

        - Review required testing, inspecting, and certifying procedures.

        - Review questions or concerns related to proper installation and adjustment of door hardware.

      - Electrified Hardware Coordination Conference:

        - Prior to ordering electrified hardware, schedule and hold meeting to coordinate door hardware with security, electrical, doors and frames, and other related suppliers.

  - DELIVERY, STORAGE, AND HANDLING

    - Inventory door hardware on receipt and provide secure lock-up for hardware delivered to Project site. Promptly replace products damaged during shipping.

    - Tag each item or package separately with identification coordinated with final door hardware schedule, and include installation instructions, templates, and necessary fasteners with each item or package. Deliver each article of hardware in manufacturer's original packaging.

    - Maintain manufacturer-recommended environmental conditions throughout storage and installation periods.

    - Provide secure lock-up for door hardware delivered to Project. Control handling and installation of hardware items so that completion of Work will not be delayed by hardware losses both before and after installation.

    - Handle hardware in manner to avoid damage, marring, or scratching. Correct, replace or repair products damaged during Work. Protect products against malfunction due to paint, solvent, cleanser, or any chemical agent.

    - Deliver keys to manufacturer of key control system for subsequent delivery to Owner.

  - COORDINATION

    - Installation Templates: Distribute for doors, frames, and other work specified to be factory or shop prepared. Check Shop Drawings of other work to confirm that adequate provisions are made for locating and installing door hardware to comply with indicated requirements.

    - Security: Coordinate installation of door hardware, keying, and access control with Owner's security consultant.

    - Electrical System Roughing-In: Coordinate layout and installation of electrified door hardware with connections to power supplies and building safety and security systems.

  - WARRANTY

    - Manufacturer's standard form in which manufacturer agrees to repair or replace components of door hardware that fail in materials or workmanship within published warranty period.

      - Warranty does not cover damage or faulty operation due to improper installation, improper use or abuse.

      - Warranty Period: Beginning from date of Substantial Completion, for durations indicated in manufacturer's published listings.

        - Mechanical Warranty

          - Locks: 10 years

          - Exit Devices: 5 years

        - Electrical Warranty

          - Locks: 2 years

          - Exit Devices:2 years

  - MAINTENANCE

    - Furnish complete set of special tools required for maintenance and adjustment of hardware, including changing of cylinders.

    - Turn over unused materials to Owner for maintenance purposes.

PART 2 - PRODUCTS

  - MANUFACTURERS

    - The Owner requires use of certain products for their unique characteristics and project suitability to ensure continuity of existing and future performance and maintenance standards. After investigating available product offerings, the Awarding Authority has elected to prepare proprietary specifications. These products are specified with the notation: ''No Substitute.''

      - Where ''No Substitute'' is noted, submittals and substitution requests for other products will not be considered.

    - Approval of alternate manufacturers and/or products other than those listed as ''Scheduled Manufacturer'' or ''Acceptable Manufacturers'' in the individual article for the product category are only to be considered by official substitution request in accordance with section 01 25 00.

    - Approval of products from manufacturers indicated in ''Acceptable Manufacturers'' is contingent upon those products providing all functions and features and meeting all requirements of scheduled manufacturer's product.

    - Where specified hardware is not adaptable to finished shape or size of members requiring hardware, furnish suitable types having same operation and quality as type specified, subject to Architect's approval.

  - MATERIALS

    - Fabrication

      - Provide door hardware manufactured to comply with published templates generally prepared for machine, wood, and sheet metal screws. provide screws according to manufacturer’s recognized installation standards for application intended.

      - Finish exposed screws to match hardware finish, or, if exposed in surfaces of other work, to match finish of this other work including prepared for paint surfaces to receive painted finish.

      - Provide concealed fasteners wherever possible for hardware units exposed when door is closed. Coordinate with “Metal Doors and Frames”, “Flush Wood Doors”, “Stile and Rail Wood Doors” to ensure proper reinforcements. Advise the Architect where visible fasteners, such as thru bolts, are required.

    - Provide screws, bolts, expansion shields, drop plates and other devices necessary for hardware installation.

      - Where fasteners are exposed to view: Finish to match adjacent door hardware material.

    - Cable and Connectors:

      - Where scheduled in the hardware sets, provide each item of electrified hardware and wire harnesses with number and gage of wires enough to accommodate electric function of specified hardware.

      - Provide Molex connectors that plug directly into connectors from harnesses, electric locking and power transfer devices.

      - Provide through-door wire harness for each electrified locking device installed in a door and wire harness for each electrified hinge, electrified continuous hinge, and electric power transfer for connection to power supplies.

  - ELECTRIC POWER TRANSFER

    - Manufacturers:

      - Scheduled Manufacturer and Product:

        - Von Duprin EPT-2, no substitute with limited singular exception identified in hardware schedules at end of this section.

    - Requirements:

      - Provide power transfer with electrified options as scheduled in the hardware sets. Provide with number and gage of wires enough to accommodate electric function of specified hardware.

      - Locate electric power transfer per manufacturer's template and UL requirements, unless interference with operation of door or other hardware items.

  - ELECTRIC STRIKES

    - Manufacturers and Products:

      - Scheduled Manufacturer and Product:

        - Assa Abloy / Hes 4500C series, no substitute.

    - Requirements:

      - Comply with BHMA A156,31, Grade 1 standards.

      - Provide UL (DIR) listed burglary-resistant electric strik, style to suit locks.

      - Provide non-handed 24VDC electric strike suitable for door and door frame materials and scheduled lock configuration.

      - Provide field selectable Fail Safe/Fail Secure modes.

      - Provide transformer and rectifier as necessary for complete installation.

      - Connect electric strikes into campus-wide security system.

  - MORTISE LOCKS – GRADE 1

    - Manufacturers and Products:

      - Scheduled Manufacturer and Product:

        - Corbin Russwin ML2000 Series, no substitute.

    - Requirements:

      - Provide mortise locks conforming to ANSI/BHMA A156.13 Series 1000, Security Grade 1, and UL Listed for up to and including 3-hour fire doors; UL10c compliant.

      - Cylinders: Refer to ''KEYING'' article, herein.

      - Provide locks with standard 2-3/4 inches (70 mm) backset, unless noted otherwise, with 3/4-inch latchbolt throw. Provide proper latch throw for UL listing at pairs.

      - Provide locksets with field reversable latchbolt for rehanding without disassembling the lock case.

      - Mechanism shall provide consistent torque and force during lever rotation.

      - Provide standard ASA strikes unless extended lip strikes are necessary to protect trim.

      - Provide electrified options as scheduled in the hardware sets.

      - Lever Trim: Solid cast levers without plastic inserts and wrought roses on both sides.

        - Lever Design: Standard Newport (Cast) with Standard rose.

  - EXIT DEVICES

    - Manufacturers and Products:

      - Scheduled Manufacturer and Product:

        - Von Duprin 98 series, no substitute.

    - Requirements:

      - Provide exit devices tested to ANSI/BHMA A156.3 Grade 1 and UL listed for Panic Exit or Fire Exit Hardware.

      - Cylinders: Refer to ''KEYING'' article, herein.

      - Provide smooth touchpad type exit devices , fabricated of brass, bronze, stainless steel, or aluminum, plated to standard architectural finishes to match balance of door hardware.

      - Touchpad must extend a minimum of one half of door width. No plastic inserts are allowed in touchpads.

      - Provide exit devices with dead-latching feature for security and for future addition of alarm kits and/or other electrified requirements.

      - Provide flush end caps for exit devices.

      - Provide exit devices with manufacturer's approved strikes.

      - Provide exit devices cut to door width and height. Install exit devices at height recommended by exit device manufacturer, allowable by governing building codes, and approved by Architect.

      - Mount mechanism case flush on face of doors or provide spacers to fill gaps behind devices. Where glass trim or molding projects off face of door, provide glass bead kits.

      - Provide cylinder or hex-key dogging as specified at non fire-rated openings.

      - Removable Mullions: 2 inches (51 mm) x 3 inches (76 mm) steel tube. Where scheduled as keyed removable mullion, provide type that can be removed by use of a keyed cylinder, which is self-locking when re-installed.

      - Provide electrified options as scheduled.

      - Top latch mounting: double- or single-tab mount for steel doors, face mount for aluminum doors eliminating requirement of tabs, and double tab mount for wood doors.

      - Provide exit devices with optional trim designs to match other lever and pull designs used elsewhere in renovated / upgraded portions of the buildings where work is to take pallce.

  - POWER SUPPLIES

    - Manufacturers and Products:

      - Scheduled Manufacturer and Product:

        - Schlage/Von Duprin PS900 Series, no substitute.

    - Requirements:

      - Provide power supplies approved by manufacturer of supplied electrified hardware.

      - Provide appropriate quantity of power supplies necessary for proper operation of electrified locking components as recommended by manufacturer of electrified locking components with consideration for each electrified component using power supply, location of power supply, and approved wiring diagrams. Locate power supplies as directed by Architect.

      - Provide regulated and filtered 24 VDC power supply, and UL class 2 listed.

      - Provide power supplies with the following features:

        - 12/24 VDC Output, field selectable.

        - Class 2 Rated power limited output.

        - Universal 120-240 VAC input.

        - Low voltage DC, regulated and filtered.

        - Polarized connector for distribution boards.

        - Fused primary input.

        - AC input and DC output monitoring circuit w/LED indicators.

        - Cover mounted AC Input indication.

        - Tested and certified to meet UL294.

        - NEMA 1 enclosure.

        - Hinged cover w/lock down screws.

        - High voltage protective cover.

  - CYLINDERS

    - Manufacturers:

      - Scheduled Manufacturer and Product:

        - Corbin Russwin, no substitute.

          - 3080 series for rim cylinders

          - 1000 series for mortise cylinders

    - Requirements:

      - Provide cylinders/cores to match Owner’s existing key system, compliant with ANSI/BHMA A156.5; latest revision; cylinder face finished to match lockset, manufacturer’s series as indicated. Refer to “KEYING” article, herein.

  - KEYING

    - Scheduled System:

      - Existing factory registered system:

        - Provide cylinders/cores keyed into Owner’s existing factory registered keying system. Comply with guidelines in ANSI/BHMA A156.28, incorporating decisions made at keying conference.

    - Requirements:

      - Permanent Keying:

        - Provide permanent cylinders/cores keyed by the manufacturer according to the following key system.

          - Grand Master Keying system as directed by the Owner.

            - Exterior Cylinders: Pyramid; keying by factory – high security.

            - Interior Cylinders: GMK and keyed to existing Russwin system – bittings provided to supplier by Owner.

        - Forward bitting list and keys separately from cylinders, by means as directed by Owner. Failure to comply with forwarding requirements will be cause for replacement of cylinders/cores involved at no additional cost to Owner.

        - Provide keys with the following features:

          - Material: Nickel silver; minimum thickness of .107-inch (2.3mm)

          - Patent Protection: Keys and blanks protected by one or more utility patent(s).

          - Geographically Exclusive: Where High Security or Security cylinders/cores are indicated, provide nationwide, geographically exclusive key system complying with the following restrictions.

        - Identification:

          - Mark permanent cylinders/cores and keys with applicable blind code for identification. Do not provide blind code marks with actual key cuts.

          - Identification stamping provisions must be approved by the Architect and Owner.

          - Stamp cylinders/cores and keys with Owner’s unique key system facility code as established by the manufacturer; key symbol and embossed or stamped with “DO NOT DUPLICATE” along with the “PATENTED” or patent number to enforce the patent protection.

          - Failure to comply with stamping requirements will be cause for replacement of keys involved at no additional cost to Owner.

          - Forward permanent cylinders/cores to Owner, separately from keys, by means as directed by Owner.

        - Quantity: Furnish in the following quantities.

          - Permanent Control Keys: 3.

          - Master Keys: 6.

          - Change (Day) Keys: 3 per cylinder/core that is keyed differently

          - Key Blanks: Quantity as determined in the keying meeting.

      - 10	FINISHES

A.  FINISH: As identified in the door schedule at end of this section:

PART 3 - EXECUTION

  - EXAMINATION

    - Prior to installation of hardware, examine doors and frames, with Installer present, for compliance with requirements for installation tolerances, labeled fire-rated door assembly construction, wall and floor construction, and other conditions affecting performance. Verify doors, frames, and walls have been properly reinforced for hardware installation.

    - Examine roughing-in for electrical power systems to verify actual locations of wiring connections before electrified door hardware installation.

    - Submit a list of deficiencies in writing and proceed with installation only after unsatisfactory conditions have been corrected.

  - INSTALLATION

    - Mount door hardware units at heights to comply with the following, unless otherwise indicated or required to comply with governing regulations.

      - Standard Steel Doors and Frames: ANSI/SDI A250.8.

      - Custom Steel Doors and Frames: HMMA 831.

      - Interior Architectural Wood Flush Doors: ANSI/WDMA I.S. 1A

      - Installation Guide for Doors and Hardware: DHI TDH-007-20

    - Install door hardware in accordance with NFPA 80, NFPA 101 and provide post-install inspection, testing as specified in section 1.03.E unless otherwise required to comply with governing regulations.

    - Install each hardware item in compliance with manufacturer's instructions and recommendations, using only fasteners provided by manufacturer.

    - Do not install surface mounted items until finishes have been completed on substrate. Protect all installed hardware during painting.

    - Set units level, plumb and true to line and location. Adjust and reinforce attachment substrate as necessary for proper installation and operation.

    - Drill and countersink units that are not factory prepared for anchorage fasteners. Space fasteners and anchors according to industry standards.

    - Install operating parts so they move freely and smoothly without binding, sticking, or excessive clearance.

    - Lock Cylinders:

      - Install construction cores to secure building and areas during construction period.

      - Replace construction cores with permanent cores as indicated in keying section.

      - Furnish permanent cores to Owner for installation.

    - Wiring: Coordinate with Division 26, ELECTRICAL and Division 28 ELECTRONIC SAFETY AND SECURITY sections for:

      - Conduit, junction boxes and wire pulls.

      - Connections to and from power supplies to electrified hardware.

      - Connections to fire/smoke alarm system and smoke evacuation system.

      - Connection of wire to door position switches and wire runs to central room or area, as directed by Architect.

      - Connections to panel interface modules, controllers, and gateways.

      - Testing and labeling wires with Architect's opening number.

    - Power Supplies: Locate power supplies as indicated or, if not indicated, above accessible ceilings or in equipment room, or alternate location as directed by Architect.

  - ADJUSTING

    - Initial Adjustment: Adjust and check each operating item of door hardware and each door to ensure proper operation or function of every unit. Replace units that cannot be adjusted to operate as intended. Adjust door control devices to compensate for final operation of heating and ventilating equipment and to comply with referenced accessibility requirements.

      - Door Closers: Adjust sweep period to comply with accessibility requirements and requirements of authorities having jurisdiction.

    - Occupancy Adjustment: Approximately three to six months after date of Substantial Completion, examine and readjust each item of door hardware, including adjusting operating forces, as necessary to ensure function of doors and door hardware.

  - CLEANING AND PROTECTION

    - Clean adjacent surfaces soiled by door hardware installation.

    - Clean operating items per manufacturer's instructions to restore proper function and finish.

    - Provide final protection and maintain conditions that ensure door hardware is without damage or deterioration at time of Substantial Completion.

  - DOOR HARDWARE SCHEDULE

    - The intent of the hardware specification is to specify the hardware for interior and exterior doors, and to establish a type, continuity, and standard of quality. However, it is the door hardware supplier's responsibility to thoroughly review existing conditions, schedules, specifications, drawings, and other Contract Documents to verify the suitability of the hardware specified.

    - Discrepancies, conflicting hardware, and missing items are to be brought to the attention of the architect. Omitted items not included in a hardware set should be scheduled with the appropriate additional hardware required for proper application.

    - Hardware items are referenced in the following hardware schedule. Refer to the above specifications for special features, options, cylinders/keying, and other requirements.

    - Manufacturer names are abbreviated within the hardware schedule. Below is a key to those abbreviations:

      - COR:	Assa Abloy / Corbin Russwin

      - HES:	Assa Abloy / Hes

      - VON:	Assa Abloy / Von Duprin

      - IVE :	Assa Abloy / Ives

    - Hardware Sets:

## Hardware Group No. A01 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | CONT. HINGE | EXISTING |  |  |
|  |  | LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  |  | HES |

-	CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A02 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | CONT. HINGE | EXISTING |  |  |
|  |  | LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | STOP SILENCERS | EXISTING EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  |  | HES |

- PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A03 – NO DOOR

- NO MECHANICAL OR ELECTRICAL DOOR HARDWARE TO BE PROVIDED BY CONTRACTOR ASSIGNED WORK OF SECTION 08 70 00.

- PANIC BUTTON SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- PANIC BUTTON SHALL AUTOMATICALLY LOCK ALL ENTRANCES TO THE ROOM IN WHICH IT IS INSTALLED FROM THE PUBLIC CORRIDORS ADJACENT TO THE ROOM.

## Hardware Group No. A04 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | CONT. HINGES | EXISTING |  |  |
| 1 | EA | ELECTRIC POWER | EPT-2 | SP28 | VON |
|  |  | TRANSFER |  |  |  |
| 1 | EA | MECHANICAL RIM EXIT | EXISTING TO BE REMOVED | 626 | VON |
|  |  | DEVICE WITH LOCKSET & |  |  |  |
|  |  | HANDLE |  |  |  |
| 1 | EA | ELECTRIFIED RIM EXIT DEVICE WITH LOCKSET & | EL-SD—98NL-OPx110MDx299 | 626 | VON |
|  |  | HANDLE |  |  |  |
|  |  | MECHANICAL RIM EXIT | EXISTING |  |  |
|  |  | DEVICE WITHOUT |  |  |  |
|  |  | LOCKSET |  |  |  |
| 1 | EA | RIM CYLINDER | EXISTING TO BE REMOVED | 626 | COR |
| 1 | EA | RIM CYLINDER | 3080-178-6-CT6R | 626 | COR |
|  |  | MORTISE CYLINDER | EXISTING |  |  |
|  |  | SURFACE CLOSERS | EXISTING |  |  |
|  |  | PROTECTION PLATES | EXISTING |  |  |
|  |  | STOPS | EXISTING |  |  |
|  |  | KEYED REMOVABLE | EXISTING |  |  |
|  |  | MULLION |  |  |  |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | POWER SUPPLY | PS914-2RS | N/A | VON |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

- POWER SUPPLIES SHALL BE LOCATED ABOVE AN ACCESSIBLE CEILING IN CLOSE PROXIMITY TO THE ASSOCIATED ELECTRIFIED HARDWARE INSTALLATION.

## Hardware Group No. A05 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | STOP SILENCERS | EXISTING EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  |  | HES |

- CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A06 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
| 1 | EA | ELECTRIC POWER | EPT-2 | SP28 | VON |
|  |  | TRANSFER |  |  |  |
| 1 | EA | MECHANICAL RIM EXIT | EXISTING TO BE REMOVED | 626 | VON |
|  |  | DEVICE WITH LOCKSET & |  |  |  |
|  |  | HANDLE |  |  |  |
| 1 | EA | ELECTRIFIED RIM EXIT DEVICE WITH LOCKSET & | EL-SD—98NL-OPx110MDx299 | 626 | VON |
|  |  | HANDLE |  |  |  |
|  |  | MECHANICAL RIM EXIT | EXISTING |  |  |
|  |  | DEVICE WITHOUT |  |  |  |
|  |  | LOCKSET |  |  |  |
| 1 | EA | RIM CYLINDER | EXISTING TO BE REMOVED | 626 | COR |
| 1 | EA | RIM CYLINDER | 3080-178-6-CT6R | 626 | COR |
|  |  | MORTISE CYLINDER | EXISTING |  |  |
|  |  | SURFACE CLOSERS | EXISTING |  |  |
|  |  | PROTECTION PLATES | EXISTING |  |  |
|  |  | STOPS | EXISTING |  |  |
|  |  | KEYED REMOVABLE | EXISTING |  |  |
|  |  | MULLION |  |  |  |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | POWER SUPPLY | PS914-2RS | N/A | VON |

- CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS

INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

- POWER SUPPLIES SHALL BE LOCATED ABOVE AN ACCESSIBLE CEILING IN CLOSE PROXIMITY TO THE ASSOCIATED ELECTRIFIED HARDWARE INSTALLATION.

## Hardware Group No. A07 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | MORTISE LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | PERIMETER ACOUSTICAL SEALS | EXISTING |  |  |
|  |  | SURFACE DROP SEAL | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  | N/A | HES |

- CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A08 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | MORTISE LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC POWER TRANSFER | EPT-2 | SP28 | VON |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | PERIMETER ACOUSTIC SEALS | EXISTING |  |  |
|  |  | DROP SEALS | EXISTING |  |  |
|  |  | SURFACE BOLT | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
|  |  | ASTRAGAL | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN DOOR – LENGTH AS REQ’D) |  |  | HES |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  |  | HES |

- CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

## Hardware Group No A09 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
| 1 | EA | MORTISE LOCKSET | ML2055 NSA-23N KEYWAY | 626 | COR |
| 1 | EA | WIRELESS ELECTRONIC MORTISE LOCK WITH INTEGRAL CARD READER | EXISTING TO BE REMOVED |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |

- CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- PROVIDE SATIN STAINLESS STEEL COVER PLATES FOR FRONT AND BACK SIDE OF DOOR AT LOCATIONS TO FULLY COVER WHERE SURFACE MOUNTED COMPONENTS OF WIRELESS ELECTRONIC MORTISE LOCK WITH INTEGRAL CARD READER HAVE BEEN REMOVED. COVER PLATES TO EACH BE APPROX. 3” X 12” AND TO HAVE SMOOTH EDGES WITH SQUARE CORNERS AND EVENLY SPACED PREDRILLED COUNTERSUNK HOLES FOR FLUSH FASTENING WITH OVAL HEAD SCREWS TO DOOR FACES.

## Hardware Group No. A10 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
| 1 | EA | MORTISE LOCKSET | ML2055 NSA-23N KEYWAY | 626 | COR |
|  |  | WIRELESS ELECTRONIC | EXISTING TO BE REMOVED |  |  |
|  |  | MORTISE LOCK WITH |  |  |  |
|  |  | INTEGRAL CARD READER |  |  |  |
| 1 | EA | ELECTRIC POWER | EPT-2 | SP28 | VON |
|  |  | TRANSFER |  |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
| 1 | EA | FRONT OF ACTIVE DOOR | EXISTING TO BE REMOVED |  |  |
|  |  | LEAF PUSH PLATE |  |  |  |
| 1 | EA | BACK OF ACTIVE DOOR | EXISTING TO BE REMOVED |  |  |
|  |  | LEAF PUSH PLATE |  |  |  |
| 1 | EA | FRONT OF ACTIVE DOOR LEAF PUSH PLATE | 8200-4”x16” CFC | 630 | IVE |
| 1 | EA | BACK OF ACTIVE DOOR LEAF PUSH PLATE | 8200-4”x14” | 630 | IVE |
|  |  | FLUSH BOLTS (T & B) | EXISTING |  |  |
|  |  | DUST PROOF STRIKE | EXISTING |  |  |
|  |  | SURFACE CLOSERS | EXISTING |  |  |
|  |  | PROTECTION PLATES | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL |  | N/A | HES |
|  |  | (IN DOOR – LENGTH AS |  |  |  |
|  |  | REQ’D) |  |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL |  | N/A | HES |
|  |  | (IN FRAME – LENGTH AS |  |  |  |
|  |  | REQ’D) |  |  |  |

- CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A11 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  | N/A | HES |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A12 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | VON |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (ON FRAME IN WIREMOLD – LENGTH AS REQ’D) |  | N/A | HES |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A13 – NO DOOR

- NO MECHANICAL OR ELECTRICAL DOOR HARDWARE TO BE PROVIDED BY CONTRACTOR ASSIGNED WORK OF SECTION 08 70 00.

- PANIC BUTTON SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- PANIC BUTTON SHALL AUTOMATICALLY LOCK ALL ENTRANCES TO THE ROOM IN WHICH IT IS INSTALLED FROM THE PUBLIC CORRIDORS ADJACENT TO THE ROOM.

## Hardware Group No. A14 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (ON FRAME IN WIREMOLD – LENGTH AS REQ’D) |  | N/A | HES |

- DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A15 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC POWER TRANSFER | EPT-2 | SP28 | VON |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | FLUSH BOLTS (T & B) | EXISTING |  |  |
|  |  | DUST PROOF STRIKE | EXISTING |  |  |
|  |  | COORDINATOR | EXISTING |  |  |
|  |  | SURFACE CLOSERS | EXISTING |  |  |
|  |  | PROTECTION PLATES | EXISTING |  |  |
|  |  | SILENCERS MTL. DR. EDGE/ASTRAGAL | EXISTING EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN DOOR – LENGTH AS REQ’D) |  | N/A | HES |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  | N/A | HES |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A16 – NO DOOR

- NO MECHANICAL OR ELECTRICAL DOOR HARDWARE TO BE PROVIDED BY CONTRACTOR ASSIGNED WORK OF SECTION 08 70 00.

- PANIC BUTTON SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- PANIC BUTTON SHALL AUTOMATICALLY LOCK ALL ENTRANCES TO THE ROOM IN WHICH IT IS INSTALLED FROM THE PUBLIC CORRIDORS ADJACENT TO THE ROOM.

## Hardware Group No. A17 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | MORTISE LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | PERIMETER ACOUSTIC SEALS | EXISTING |  |  |
|  |  | SURFACE DROP SEAL | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (ON FRAME IN WIREMOLD – LENGTH AS REQ’D) |  | N/A | HES |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A18

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | MORTISE LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC POWER TRANSFER | EPT-2 | SP28 | VON |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | PERIMETER ACOUSTIC SEALS | EXISTING |  |  |
|  |  | DROP SEALS | EXISTING |  |  |
|  |  | SURFACE BOLT | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
|  |  | ASTRAGAL | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN DOOR – LENGTH AS REQ’D) |  |  | HES |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  |  | HES |

- CARD READER, PANIC BUTTON, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

## Hardware Group No. A19 – SINGLE LEAF DOOR

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | MORTISE LOCKSET | EXISTING |  |  |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | STOP | EXISTING |  |  |
|  |  | SILENCER | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN FRAME – LENGTH AS REQ’D) |  |  | HES |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A20– NO DOOR

- NO MECHANICAL OR ELECTRICAL DOOR HARDWARE TO BE PROVIDED BY CONTRACTOR ASSIGNED WORK OF SECTION 08 70 00.

- DOOR CONTACTS AND REQUEST TO EXIT MOTION DETECTOR DEVICE SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A21– NO DOOR

- NO MECHANICAL OR ELECTRICAL DOOR HARDWARE TO BE PROVIDED BY CONTRACTOR ASSIGNED WORK OF SECTION 08 70 00.

- CARD READER SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

## Hardware Group No. A22 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | MORTISE LOCKSET | EXISTING |  |  |
| 1 | EA | EPT | EPT-2 | SP28 | VON |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | FLUSH BOLTS | EXISTING |  |  |
|  |  | DUST PROOF STRIKE | EXISTING |  |  |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | STOPS | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |
|  |  | MTL DR EDGES/ASTRAGAL | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN DOOR – LENGTH AS REQ’D) |  | N/A | HES |
| 1 | SET | WIRING HARNESS / PIGTAIL (ON FRAME IN WIREMOLD – LENGTH AS REQ’D) |  | N/A | HES |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

## Hardware Group No. A23 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
|  |  | MORTISE LOCKSET | EXISTING |  |  |
| 1 | EA | EPT | EPT-2 | SP28 | VON |
| 1 | EA | ELECTRIC STRIKE | 4500Cx2001M RECTIFIER | 630 | HES |
|  |  | FLUSH BOLTS | EXISTING |  |  |
|  |  | DUST PROOF STRIKE | EXISTING |  |  |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | STOPS | EXISTING |  |  |
|  |  | SILENCERS | EXISTING |  |  |
|  |  | MTL DR EDGES/ASTRAGAL | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (IN DOOR – LENGTH AS REQ’D) |  | N/A | HES |
| 1 | EA | WIRING HARNESS / PIGTAIL (ON FRAME IN WIREMOLD – LENGTH AS REQ’D) |  | N/A | HES |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

## Hardware Group No. A24

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
| 1 | EA | MECHANICAL RIM EXIT | EXISTING TO BE REMOVED |  |  |
|  |  | DEVICE |  |  |  |
| 1 | EA | ELECTRIFIED RIM EXIT DEVICE | EL-SD—98NL-OPx110MDx299 | 626 | VON |
| 1 | EA | ELECTRIC POWER | EPT-2 | SP28 | VON |
|  |  | TRANSFER |  |  |  |
|  |  | SURFACE CLOSER | EXISTING |  |  |
|  |  | WIRE PULL | EXISTING |  |  |
|  |  | PROTECTION PLATE | EXISTING |  |  |
|  |  | THRESHOLD | EXISTING |  |  |
|  |  | SILENCER | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL |  | N/A | VON |
|  |  | (ON FRAME IN WIREMOLD |  |  |  |
|  |  | – LENGTH AS REQ’D) |  |  |  |
| 1 | EA | POWER SUPPLY | PS914-2RS | N/A | VON |

- CARD READER, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

## Hardware Group No. A25 – PAIR OF DOORS

| QTY |  | DESCRIPTION | CATALOG NUMBER | FINISH | MFR |
| --- | --- | --- | --- | --- | --- |
|  |  | HINGES | EXISTING |  |  |
| 1 | EA | NARROW STILE CROSSBAR EXIT DEVICE WITH VERTICAL RODS TOP & BOTTOM | EXISTING TO BE REMOVED |  |  |
| 1 | EA | NARROW STILE CROSSBAR EXIT DEVICE WITH MORTISE LOCK, LATCH & PULL | EXISTING TO BE REMOVED |  |  |
| 1 | EA | MECHANICAL RIM EXIT DEVICE | 98EOx299 | 626 | VON |
| 1 | EA | ELECTRIFIED RIM EXIT DEVICE | EL-SD-98NL-OPx110MDx299 | 626 | VON |
| 1 | EA | RIM CYLINDER | EXISTING TO BE REMOVED |  |  |
| 1 | EA | RIM CYLINDER | 3080-178-6-CT6R | 626 | COR |
| 1 | EA | MORTISE CYLINDER | 1000-114-A02-6-23N | 626 | COR |
| 1 | EA | ELECTRIC POWER TRANSFER | EPT-2 | SP28 | VON |
|  |  | SURFACE CLOSERS | EXISTING |  |  |
|  |  | OVERHEAD STOPS / FRICTION STAYS | EXISTING |  |  |
|  |  | PROTECTION PLATES | EXISTING |  |  |
| 1 | EA | KEYED REMOVABLE MULLION | KR4954 | SP28 | VON |
|  |  | SILENCERS | EXISTING |  |  |
| 1 | EA | WIRING HARNESS / PIGTAIL (ON FRAME IN WIREMOLD – LENGTH AS REQ’D) |  | N/A | VON |
| 1 | EA | POWER SUPPLY | PS914-2RS | N/A | VON |

- CARD READER, DOOR CONTACTS, AND REQUEST TO EXIT MOTION SENSOR DEVICES SHALL BE PROVIDED BY THE ASSIGNED SECURITY SYSTEMS INTEGRATION CONTRACTOR. REFER TO SECTION 01 10 00 SUMMARY OF THE PROJECT MANUAL.

- SHOULD IT BE DEMONSTRATED THAT IT IS NOT FEASIBLE TO UTILIZE VON DUPRIN EPT-2, PROVIDE SDC MODEL PT-3/8V FLEXIBLE ARMOURED CABLE EPT INSTEAD.

- POWER SUPPLIES SHALL BE LOCATED ABOVE AN ACCESSIBLE CEILING IN CLOSE PROXIMITY TO THE ASSOCIATED ELECTRIFIED HARDWARE INSTALLATION.

END OF SECTION